MIDTERM REPORT

2011/2012

European Project Semester at ISEP

Level Monitoring System

for a Waste Oil Storage Tank

Marcos Moura N. 1090419

Olga Olejniczak N. 1111822

Naeem Ahmad N. 1111821

Mihkel Tasa N. 1111820

Table of contents

ABSTRACT	4

GLOSSARY	4

Ultrasonic Distance Measuring Module HC-SR04	4

Arduino Pro Mini	5

PANASONIC - LC-R0612P - BATTERY, 6V, VRLA, 12AH	5

WiFly Shield	5

I. INTRODUCTION	5

1. WORK PLAN	6

1.1. GANTT CHART	7

1.2. TASK LIST	7

1.3. STRUCTURE OF THE REPORT	8

II. STATE OF THE ART	8

1. Level/Height measuring sensors	9

1.1. Ultrasonic sensor	9

1.2. Infra-red	11

2. Battery	12

3. Micro-controller	16

4. Communication	17

III. Project development	18

1. Architecture	19

V. Marketing Plan	22

1. Background information/Executive Summary	22

1.1. Current market situation	23

1.2.  Market Description	24

1.3. Competitors	25

2. Objectives	28

3. SWOT-analysis	29

4. Segments	30

5.Positioning	32

6. Marketing mix	32

7.Marketing strategy	33

8. Action programmes	34

9.Budget	34

10.Control	34

VI. Conclusion	35

VII. Bibliography	36

REPORT

###### ABSTRACT

Nowadays recycling companies who deal with waste oil have huge responsibility towards humanity. Competition for the best position is tough and it is necessary to optimize their services and production. By avoiding checking containers so often and reduce the need for resources the companies can create good conditions to be leaders in the market.

This report presents primary ideas to develop a system that will enable measuring the level of waste oil deposited in the containers by using electronic devices that check them constantly. To accomplish this, we will start by comparing different types of sensors, control systems, web interfaces and batteries.

The final goal was to build and program a level monitoring system for waste oil reservoirs.

###### GLOSSARY

#### Ultrasonic Distance Measuring Module HC-SR04

The Ultrasonic Module HC-Sr04 is used for measuring distance. The sensor sends a signal which is reflected by the material. We take the time in which the signal needs to come back and so we can measure the distance.

#### Arduino Pro Mini

The arduino pro mini is the main controller, it controllers everything in our project, basically it is the brain of our system. It is a board based on the ATmega168. It has 14 digital input/output pins (of which 6 can be used as PWM outputs), 6 analog inputs, an on-board resonator, a reset button, and holes for mounting pin headers.

#### PANASONIC - LC-R0612P - BATTERY, 6V, VRLA, 12AH

This is a lead-acid battery we choose to work with. It will be used to power up the measuring system.

#### WiFly Shield

The WiFly Shield is used for wifi communication, to send data about the current status of the container to a web page.

It connects to a near wifi hotspot in order to connect to the web page.

###### I. INTRODUCTION

The team consists of four people. All of them come from different countries. Olga Olejniczak comes from Poland and studies Biomedical Engineering at the Technical University in Łódź; Naeem Ahmad comes from Germany and studies Sales and Marketing Engineering at the University of Applied Science in Kiel; Mihkel Tasa comes from Estonia and studies Engineering Materials and Marketing at the Tallinn University of Applied Science, and Marcos Moura comes from Portugal and studies Electrical and Computer Engineering at the Instituto Superior de Engenharia do Porto. Each of the Erasmus students are quite different and have their own habits. But the team has the same final goal, which is to build and program a level monitoring system for wasted oil in containers. The students already had some basic information about sensors before they arrived at the European Project Semester.

Our project title is “Level Monitoring System for a Waste Oil Storage Tank”. The task is to develop a level monitoring system for a real world waste oil container. Our group has been very motivated to achieve this aim since the first meeting.

In this report we propose and describe the idea of solving the posed problem.  For each of us it was a kind of practical possibility to find out a lot of new things and to learn how to cooperate within the team.

It has already been really difficult to reach an agreement about a final and appropriate solution. Of course we had to look for the cheapest devices as possible.

We have been looking for special and necessary equipments which would make our ideas become real for the whole week. It was not so easy because of the high prices of the devices. At the beginning we had to check the inside look of the container. It was necessary because in one of our tasks we had to decide where and how the components could be fixed and placed.

To distribute the conception we needed firstly a special kind of sensor. This is a device that responds to a physical stimulus (for example light, sound, pressure, magnetism, or a particular motion) and transmits a resulting impulse (as for measurement or operating a control). Secondly, we needed the monitoring system that would send automatically an alert message when the container would be full. The special box, which would keep all things together, was very important too. We had to consider the possibility of correctly programming this equipment.

#### 1. WORK PLAN

Below we can see the first part of the Gantt Chart and Task List which helped us in making the time-work organization.

## 1.1. GANTT CHART

## 1.2. TASK LIST

| Task | Responsible |
| --- | --- |
| Sensors and control | Marcos |
| Container | Olga and Mihkel |
| Web interface | Naeem and Marcos |
| Marketing | Naeem and Mihkel |
| Sustainability | Mihkel, Marcos, Olga and Naeem |

## 1.3. STRUCTURE OF THE REPORT

The midterm report consists of nine parts that are Abstract, Glossary, Introduction, State of the Art, Marketing Plan, Eco-efficiency Measures for Sustainability, Project Development, Conclusions and Bibliography. In this section of our work we would like to present an overall view of our project. We also want to show what we did till this moment and the results of our work.

###### II. STATE OF THE ART

Level measurement sensors are used to measure fluid or solid level within a range. Generally, these sensors produce an analog output that directly correlates to the level in the vessel. To create a level management system, the output signal is linked to a micro-controller.

Micro-controllers can be used to process and handle more than one sensor at the same time and even provide a possibility to send information in many different ways. One way for doing this can be done over the Internet where an administrator/manager can remotely access to data about every sensor where the system is installed.

#### 1. Level/Height measuring sensors

Level sensors detect the level of substances, including liquids, granular materials, powders and solid objects. In some applications it’s essential to measure the level in the containers (or other physical boundaries). The substance to be measured can be inside a container or can be in its natural form (e.g., a river or a lake). The level measurement can be either continuous or point values. Continuous level sensors measure level within a specified range and determine the exact amount of substance in a certain place, while point-level sensors only indicate whether the substance is above or below the sensing point.

There are many physical and application variables that affect the selection of the optimal level monitoring method for industrial and commercial processes. The selection criteria include the physical: phase (liquid, solid or slurry), temperature, pressure or vacuum, chemistry, dielectric constant of medium, density (specific gravity) of medium, agitation (action), acoustical or electrical noise, vibration, mechanical shock, tank or bin size and shape. Also important are the application constraints: price, accuracy, appearance, response rate, ease of calibration or programming, physical size and mounting of the instrument, monitoring.

## 1.1. Ultrasonic sensor

Ultrasonic sensors (Fig.1), also known as transceivers when they both send and receive work on a principle similar to radar or sonar. Ultrasonic sensors generate high frequency sound waves and evaluate the echo which is received back by the sensor. Sensors calculate the time interval between sending the signal and receiving the echo to determine the distance to an object.

This technology can be used for measuring: wind speed and direction (anemometer), fullness of a tank and speed through air or water. To measure the amount of liquid in a tank, the sensor measures the distance to the surface of the fluid (Fig.2). Further applications include: humidifiers, sonar, medical ultrasonography, burglar alarms and non-destructive testing.

Systems typically use a transducer which generates sound waves in the ultrasonic range, above 18,000 hertz, by turning electrical energy into sound, then upon receiving the echo turn the sound waves into electrical energy which can be measured and displayed.

The technology is limited by the shapes of surfaces and the density or consistency of the material. For example foam on the surface of a fluid in a tank could distort a reading. In the table 1 there are a few examples of the ultrasonic sensors.

Tab.1 Examples of Ultrasonic Sensors

## 1.2. Infra-red

With the introduction of the GP2DXX (Fig.3) line of Sharp detectors, a new approach was developed that not only gives object detection at a longer range than the previous method, but also offers range information, in the case of the GP2D12, GP2D120, and GP2DY0A ('0A') detectors.  These new rangers offer much better immunity to ambient lighting conditions because of the new method of ranging.

These new rangers all use triangulation and a small linear CCD array to compute the distance (Fig.4) and/or presence of objects in the field of view.  The basic idea is this: a pulse of IR light is emitted by the emitter.  This light travels out in the field of view and either hits an object or just keeps on going.  In the case of no object, the light is never reflected and the reading shows no object.  If the light reflects off an object, it returns to the detector and creates a triangle between the point of reflection, the emitter, and the detector.

Fig.4 Different Angles with Different Distances

The angles in this triangle vary based on the distance to the object.  The receiver portion of these new detectors is actually a precision lens that transmits the reflected light onto various portions of the enclosed linear CCD array based on the angle of the triangle described above.  The CCD array can then determine what angle the reflected light came back at and therefore, it can calculate the distance to the object.

This new method of ranging is almost immune to interference from ambient light and offers amazing indifference to the color of object being detected.  Detecting a black wall in full sunlight is now possible.

#### 2. Battery

A battery is an electrochemical cell or enclosed and protected material. The battery can be charged electrically to provide a static potential for power or released electrical charge when needed.

The basic elements of the battery (Fig.5) there are an anode, a cathode and an electrolyte. The cathode is a metal that is combined with oxygen. The anode is a metal that would oxidize if it were allowed to and is more likely to oxidize than the metal that forms part of the cathode.

There are different types of batteries. The most common types and the ones we will be studying are the following:

- Lead acid

Lead–acid batteries were invented in 1859 by French physicist Gaston Planté. They are the oldest type of rechargeable battery. Despite having a very low energy-to-weight ratio and a low energy-to-volume ratio, their ability to supply high surge currents means that the cells maintain a relatively large power-to-weight ratio.

# Nickel–cadmium

The NiCd battery was invented by Waldemar Junger and patented in 1899.

This type of battery is rechargeable and usually used for portable computers, drills, camcorders and other small battery-operated devices requiring an even power discharge. NiCds use electrodes made of nickel oxide hydroxide, metallic cadmium and an alkaline electrolyte of potassium hydroxide. This batteries are also the most widely sold.

- Nickel–metal hydride

This is a type of rechargeable battery which is very similar to the nickel–cadmium cell (NiCd). NiMH uses positive electrodes of nickel oxyhydroxide (NiOOH), like the NiCd, but the negative electrode uses a hydrogen-absorbing alloy instead of cadmium. A NiMH battery can have two to three times the capacity of an equivalent size NiCd, and their energy density approaches that of a lithium-ion cell.

NiMH batteries have replaced NiCd for many roles, notably small rechargeable batteries. NiMH batteries are very common for AA (penlight-size) batteries, which have nominal charge capacities (C) ranging from 1100 mA·h to 3100 mA·h at 1.2 V, measured at the rate that discharges the cell in five hours.

- Lithium-Ion

A type of a battery composed of Lithium, the lightest metal and the metal that has the highest electrochemical potential. Lithium, however, is an unstable metal, so Lithium-Ion batteries are made from Lithium ions from chemicals. Because of its lightness and high energy density, Lithium-Ion batteries are ideal for portable devices, such as notebook computers. In addition, Lithium-Ion batteries have no memory effect and do not use poisonous metals, such as lead, mercury or cadmium. The only disadvantage to Lithium-Ion batteries is that they are currently more expensive than NiCad and NiMH battery packs.

These are the basic information about the most used recharged batteries.

The following table 2 summarizes some of the battery characteristics and advantages of the previous types, which have already been described.

Tab.2 Characteristics of the different battery type

| Battery Type | Characteristics | Typical Uses | Advantages |
| --- | --- | --- | --- |
| Lead Acid battery | Can hold a charge for up to 3 years | Backup emergency power source | Inexpensive |
| Nickel-Cadmium (Ni-Cd) battery | Fast, even energy discharge | Appliances, audio and video equipment, toys; most popular battery | Relatively inexpensive; widely available |
| Nickel-Metal Hydride (Ni-MH) battery | Typical power capacity i1.2V-1200 to 1500 mAh; extended life 2300 mAh; 2.5 to 4 hours battery life | Portable computers; cellular phones; same as for Ni-Cd batteries | No memory effect; unused capacity remains usable |
| Lithium ion (Li-Ion) battery | Stable and safe; highest energy capacity | Portable computers; cellular phones; same as for Ni-Cd batteries | Twice the charge capacity of Ni-Cd; slow self-discharge |

After studying each battery and comparing them we decided that the best which fits ours needs would be the lead-acid battery.

#### 3. Micro-controller

A micro-controller (Fig.6) is a small computer on a single integrated circuit containing a processor core, memory, and programmable input/output peripherals. Program memory in the form of NOR flash or OTP ROM is also often included on chip, as well as a typically small amount of RAM. Micro-controllers are designed for embedded applications, in contrast to the microprocessors used in personal computers or other general purpose applications.

Micro-controllers are used in automatically controlled products and devices, such as automobile engine control systems, implantable medical devices, remote controls, office machines, appliances, power tools, toys and other embedded systems. By reducing the size and cost compared to a design that uses a separate microprocessor, memory, and input/output devices, micro-controllers make it economical to digitally control even more devices and processes.

The micro-controller (Fig.7) is the main component of our system. It will control everything and process everything, it will be responsible for controlling all the other components in our system. For that matter we choose the arduino pro mini, which is a development board with the micro-controller and also some protection systems, as well as power regulation circuits and so on.

#### 4. Communication

Wireless telecommunications (Fig.8) is the transfer of information between two or more points that are not physically connected. Distances can be short, such as a few meters for television remote control, or as far as thousands or even millions of kilometres for deep-space radio communications. It encompasses various types of fixed, mobile, and portable two-way radios, cellular telephones, personal digital assistants (PDAs), and wireless networking.Wireless telecommunications is the transfer of information between two or more points that are not physically connected.

In this project we will be using a Wi-Fi communication system to transfer data between the measurement system and the web interface.

Wi-Fi (Fig.9) is a popular technology that allows an electronic device to exchange data wirelessly (using radio waves) over a computer network which means that no cables are needed to connect devices which need to communicate and even be established a connection through walls and obstacles, this technology includes high-speed Internet connections. The Wi-Fi Alliance defines Wi-Fi as any "wireless local area network (WLAN), products that are based on the Institute of Electrical and Electronics Engineers' (IEEE) 802.11 standards". However, since most modern WLANs are based on these standards, the term "Wi-Fi" is used in general English as a synonym for "WLAN".

A device that can use Wi-Fi (such as a personal computer, video game console, smart phone, tablet, micro-controller or even a digital audio player) can connect to a network resource such as the Internet via a wireless network access point. Such an access point (or hotspot) has a range of about 20 meters (65 feet) indoors and a greater range outdoors. Hotspot coverage can comprise an area as small as a single room with walls that block radio waves or as large as many square miles — this is achieved by using multiple overlapping access points.

We will be using the WiFly Shield as shown in the Fig. 10.

###### III. Project development

#### 1. Architecture

IV. Sustainable development

The word sustainability is derived from the Latin sustinere. Sustainability as an emergent concept reveals deep concerns about fundamental values and our own continued existence. While each person's definition of sustainability is seen to be the most relevant, the question is a universal one and common to all. There are many meanings for sustain, the main ones being to “maintain", "support", or "endure”.

Sustainability has been used more in the sense of human sustainability on planet Earth since the 1980s. This has resulted in the most widely quoted definition of sustainability and sustainable development (it is a form of development that meets the needs of the present without compromising the ability of future generations to meet their own needs).

A diagram (shown on the left) indicating the relationship between the three pillars of sustainability suggesting that both economy and society are constrained by environmental limits.

In our project we would like to implement sustainable development concepts. For this matter we are going to make a sustainability study for our product. We are searching for the idea of sustainability around the three main parts which are social, environmental and economy.  In the environmental part we would like to find and apply environmental friendly solutions, with the main goal of reducing negative human impact, as for example to use recyclable and renewable materials and energy sources. We also think about using everything in the most efficient way.

In our project we are trying to make as low energy consumption system as possible. We will use the lead acid battery which is rechargeable (300 times) and each recharge will last four to five months minimum. The lead acid battery recycling is one of the most successful recycling programs in the world and it was one of the reasons why we chose this type of battery. We also were constrained to our small budget and this battery is one of the cheapest.

We also had another environmental friendly solution which was to use a solar panel attached to the battery in order to recharge it. With this possibility we would be able to save energy and maintenance costs which contribute to the negative human impact. Unfortunately the small budget and logistics for this product don’t allow us to use the solar panels. For the future projects and with bigger budgets we will try to implement solar panels.

For the energy saving and efficiency our system was developed to save the most energy possible. To achieved that our system, most of the time, will be sleeping and it will wake one time or two times a day to send information about the level of the container and goes to sleep again.

For the enclosure we had two material options, aluminium and plastic. Aluminium is theoretically 100% recyclable without any loss of its natural qualities as for plastic it can only be recycled a certain number of times until it starts loosing its proprieties. Aluminium is stronger than plastic and is easily worked. With all this in mind we though that aluminium would be the best option.

Marketing Plan

Team 4

Naeem Ahmad, Mihkel Tasa, Marcos Moura, Olga Olejniczak

Porto 2012

###### V. Marketing Plan

#### 1. Background information/Executive Summary

In the time of rare sources, it becomes more and more important to be effective as a company. Entrepreneurs had to work hard to survive in this tricky situation. Thats why we are going to launch a new level measuring product, the level1000. Our invention is mainly directed to recycling companies. By using our waste oil measuring system, companies can create advantages over competitors.

The first year primary marketing objective is to sell our product (level1000) 200 pieces. In financial objectives, we want to achieve sales revenues to 60.000 € and to reach the break even in the beginning of second year.

Problem statement

for recycling companies

who  recycles waste oils

the level weight monitoring system

is a solution

that tells you capacity of container

unlike no other products

our solution is the first.

## 1.1. Current market situation

Our product is innovative and we are entering in a new market. At the moment we have to deal with hypothetical companies. They can enter to the market, if they want , thats why we need to estimate future competitive threats. The reasons, why companies may want to enter in new market can be many:

- There are high profit margins in the industry.

- There is unmet demand (insufficient supply) in the industry.

- There are no major barriers to entry.

- There is future growth potential.

- Competitive rivalry is not intense.

- Gaining a competitive advantage over existing firms is feasible.

The most common sources of new competitors are:

- Companies competing in a related product/market

- Companies using related technologies

- Companies already targeting your prime market segment but with unrelated products

- Companies from other geographical areas and with similar products

- New start-up companies organized by former employees and/or managers of existing companies.

In Portugal there are no similar products. But in Germany there are some related products. Considering that, we need to be prepared to compete with others. For customer point of view, we can offer to them accurate and better overview of their containers, because unlike others, we have web interface and our product price is better (cheaper). Due to that, they can reduce transportation and labour force costs.

## 1.2.  Market Description

The measuring systems market consists of business users and consumers (private consumers) who need measuring systems for their machines/equipments/products. Specific segments being targeted during the first year. The Table A1.1 shows how the level1000 addresses the needs of targeted business and consumer segments.

Level1000 product purchasers can choose the right settings for their needs. Different settings are needed, if customer wants to implement level1000 in various types of containers.  Customers may have several needs: Firstly, they want to know when the  container is full or not. Secondly, they don´t want to check the container every time. Thirdly, customers want to have a clear logistic concept, when container cleaning is necessary. Trough that they can save money.

Table A1.1 Needs and Corresponding Features/Benefits of Level1000

| Targeted segment | Customer need | Corresponding Feature/Benefit |
| --- | --- | --- |
| Recycling companies(business) | Information about containers capacities | Ultrasonic sensor will measure this |
|  | Don´t want to check containers every time | Wifi module for communication(with web interface) |
|  | Logistic process | Web interface will help to create a better logistic and collecting process (overview). |
| Private consumers | Information about the container capacity | Ultrasonic sensor will measure this. |
|  | Don´t want to check the container every time | Wifi module for communication (with web interface) |

## 1.3. Competitors

Most of competitors, what you can see in the list below, are selling the similar product than we do. Those companies first target is to sell their product to professional users- mostly they are process industries. Only the first company in this table, has a same product like we have. The only difference between our product and this product is that they don´t have web interface. Main targets (customers) of this company are landlords with heating oil tanks. While, this is not our main target group we don’t need to face with them.  But, if we  had more money we can enter to this market easily, because our solution has been developed so that it is possible to use it in many places. We also can offer to customers better price and web interface opportunity.

We found out that there are more than 46 competitors in Germany. Even if, Germany is not our first market at the moment, we need to think about it also. Because in the European Union it is not really difficult to enter in a new market which is in another EU country. There comes the second reason why we should know the German market is that, in the second year we would like to sell our product there.

Table A1.3 Possible Competitors

| Company | Product | Price | Function | Customers |
| --- | --- | --- | --- | --- |
| Sonotec (Germany) | Sonolevel 10 | 499,99 € | -it can measure the distance from 12 cm to 250 cm. -working with ultrasound -adjustable -only a local interface | -owners of heating oil tanks in -most for landlord |
| VEGA Grieshaber KG | VEGASON 61 to 63 | 902,14 € | liquids: 0.4 … 8 m solids: 0.4 … 3,5 m | -B2B Marketing -process industry |
| Endress Hauser | Prasonic SFD And FMU 90 | 1090 € |  | -B2B Marketing -process industry |

At the moment we didn´t found out any Portuguese competitors to our product. We think that there must be some companies/products, but probably they are not our direct competitors.

#### 2. Objectives

We set achievable objectives for the first two years.

#### 3. SWOT-analysis

| Strength | Weaknesses |
| --- | --- |
| First in the market Innovative aspect Price Easy to use Low maintaining cost Easy to assemble Adjustable | Unknown product Not available in every clematises Battery maintenance Difficult to get patent Limited budget |
| Opportunities | Threats |
| Get sponsors/investors. Cooperation with big recycling companies. We can enter into external markets. Ministry of the environment gives support for our product (promoting). | · Product acceptance Easy to copy/improve Market demand is low Aggressive competitors |

#### 4. Segments

As a first step, we made the decision to sell our product mainly to two different customer group which have basically same needs-they want to know information about container (is it full or not). These customers may want to buy our product for different reasons:  our product will help to save transportation and labor force costs. And as we know petrol is becoming more and more expensive and many companies are trying to reduce their petrol costs.

First Target

We have certain segment to whom we want to reach. They are recycling companies, which are dealing with waste oils. The waste oils are collected by the company from different areas in a city. Waste oils are thrown away after they were used for cooking. Mostly, the bottles are thrown into containers which are in the near areas of apartments. The recycling companies are our first target group. Using our product, companies can collect oils more effectively. Our first market will be in Portugal in the city of Porto and in its districts. We are cooperating with Instituto Superior de Engenharia do Porto (ISEP) and ISEP in turn cooperating with one waste oil collecting company called Egi Energy. This company will have the first right to buy our solution.

That´s why our product is designed for one specific container. However, with bigger budget and with some development, we can easily produce measuring system, what can be used for many containers. Thereby, we can offer more products to different clients (product selection).

Possible other clients(companies):

- Reciol Reciclagem de Oles Lda

- http://reciol.pai.pt/

- Oleotores Ltd

- http://www.oleotorres.pt/

- Carmona Sa

- http://carmona.pai.pt

Second Target

Nowadays water is one of the rare sources. To save it, people should think when, where and how much they should use it. This is mainly environment question, but educated people also think about their descendants. Therefore house owners will and should accumulate rainwater to water tanks so they can use it later for watering flowers. This type of water containers collects the rainwater and save it. Mainly these containers are located to underground, so it is inconvenient to check the water level of containers. To make their lives better, we can offer them solution where they can follow their container easily.

#### 5.Positioning

Before we can choose right marketing strategy for us, we should find out what our goal is and how we would want to reach to our target group. Considering these two aspects, we point out two advertising methods and by comparing them, we can choose which one is better for us.

Above the line (ATL) marketing refers specifically to advertisements related to things people can see - i.e. wide open to your competition. For instance, ATL includes advertising in newspapers, magazines, televisions and etc. ATL has a higher public branding effect than BTL. Above the line is often used to generate mindshare.

Below the line (BTL) marketing  refers to things that happen in the background. Flyers, email marketing, word-of-mouth, inner circle marketing, etc that is not easily detected by your competition. BTL is used to generate loyalty and repeat readership.

Considering our project, we should choose below the line marketing method for us, because our product is meant for only specific companies and markets, so we do not need to advertise our product to masses.

#### 6. Marketing mix

#### 7.Marketing strategy

To advertise our product we are going to use mainly three channels:

- Internet marketing-is referred to as the marketing (generally promotion) of products or services over the Internet.

- Product demonstration-is a promotion where a product is demonstrated to potential customers. The goal of such a demonstration is to introduce customers to the product in hopes of getting them to purchase that item.[wiki]

- Word-of-mouth-  is an unpaid form of promotion—oral or written—in which satisfied customers tell other people how much they like a business, product, service, or event. Word-of-mouth is one of the most credible forms of advertising because people who don't stand to gain personally by promoting something put their reputations on the line every time they make a recommendation.[wiki]

#### 8. Action programmes

The level 1000 will be introduced in July. Following are summaries of the action programs we will use during the first six months of next year to achieve our stated objectives.

July

We will make official web page and make advertisement in Google. If someone writes keywords level measuring system to Internet, then our web page will be always shown on top.

August

Contacting with recycling companies (via email, telephone or face to face)

September

Publish articles in magazines of our field (innovation, recycling)

October

Participate in events for disclosure of the product (fairs).For instance Sensor Test fair in Germany.

November

December

#### 9.Budget

#### 10.Control

Here we are going to compare our objectives and action program.

###### VI. Conclusion

To summarize the last weeks of work.

The project title, on which we have been working for six weeks, is “Level Monitoring System for a Waste Oil Storage Tank” and our main task is to develop a level monitoring system for a real world waste oil container.

The past weeks we spent on understanding and getting familiar with our project which seems very interesting to us from the beginning. Initially, we looked for a variety of basic information. We reviewed many options to solve the tasks and had a lot of discussion about sensors, communication module, batteries, boxes which would make our ideas become real. Obviously we had to look for the cheapest equipment as possible because the budget is limited.

It has already been really difficult to reach an agreement about a final and appropriate solution.

As the first activity was to prepare the Gantt Chart and the task list inside where we divided the job between each other. We had also a meeting with Prof. Nidia on which we found out more about what is expected from our project and what it can be. We also had five meetings with the supervisors who lead us and helped to solve our difficulties as well as our doubts.

Secondly, we checked the inside look of the container because in one of our tasks we had to decide where and how the components could be fixed and placed. After it we prepared the prototype of the container to make it easier to check our ideas.

As we have already mentioned to distribute the conception we needed to find a special kind of sensor and we chose ultrasonic one (Ultrasonic Distance Measuring Module HC-SR04). We needed the monitoring system that would automatically send an alert message when the container would be full (Arduino pro min plus Wi-Fi shield). We also chose the battery - the lead acid one because of possibility to recharging it and quite low price. We found the special and necessary box - the one made of the aluminium, which would keep all things together (we presented the use of box on figure 13). We have already started to consider the programming part of the project.

Other tasks were to prepare the marketing plan and sustainability aspects concerning our project.

###### VII. Bibliography

1) http://www.webopedia.com/TERM/W/Wi_Fi.html

2) http://en.wikipedia.org/wiki/File:Nested_sustainability-v2.gif

3)http://mechanical.poly.edu/faculty/vkapila/ME3484/Readings/NV27-Measuring%20Water%20Level.pdf  ways of level measurement

4)http://arduino-direct.com/sunshop/index.php?l=product_list&c=1 store

5)http://batteryuniversity.com/learn/article/can_the_lead_acid_battery_compete_in_modern_times

6)http://en.wikipedia.org/wiki/Lead%E2%80%93acid_battery

7)http://www.windsun.com/Batteries/Battery_FAQ.htm